Rackheath Community Council

Stracey Sports Park Risk Assessment

| Site | Stracey Sports Park, Green Lane West, Rackheath | Register date | 22 July 2026 |
| --- | --- | --- | --- |
| Prepared by | Aileen Beck, Clerk & RFO | Review date | Present to council September 2026 |
| Approved by | Rackheath Community Council | Next review | July 2026 |
| Scope | Pavilion, bowling green, storage containers, enclosed hirer space, MPSA, adult gym, children’s play area, and field/goal equipment. |  |  |

Risk scale

Likelihood: Low / Medium / High. Severity: Low / Medium / High. Residual risk should be reviewed after controls are applied.

| Hazard / issue | Persons at risk | Likelihood | Severity | Existing controls | Controls owner | Residual risk | Further action required | Target action date |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Unauthorised access to pavilion and containers | Staff, hirers, users, contractors, members of the public | Medium | High | Access is controlled through key boxes, with a key and code register maintained in accordance with the Key holder Policy. Codes are changed quarterly, areas can be locked separately, and the Community Council office is kept locked when not in use, with a clear desk policy in place. | Assistant Clerk / Clerk / site management | Medium | Review access arrangements if keys are lost, and ensure all restricted-use areas are clearly signed. | August 2026 |
| Slips, trips and falls inside pavilion | Staff, hirers, visitors, contractors | Medium | Medium | Contract cleaning covers the kitchen, function room, toilets and changing areas. The Assistant Clerk carries out weekly checks, cleaning equipment is available in the labelled kitchen cupboard, and incidents are reported to the Clerk. First Aid kit available in the kitchen, including Accident book with reporting guidance. | Assistant Clerk / cleaning contractor | Low/Medium | Hirers should respond promptly to spills, damaged flooring or obstructed walkways. Assistant Clerk to continue monitoring the building during routine checks. Maintain a clear reporting process for defects, hazards and incidents. | September 2026 |
| Slips, trips and falls outside | Staff, hirers, users, contractors, members of the public | Medium | Medium | External grassed areas are cut by a contractor. The bowling green is maintained by a separate contractor with support from the Bowls Club. The Assistant Clerk undertakes general site checks, and any incidents are reported to the Clerk. | Site contractors / Assistant Clerk | Medium | Assistant Clerk to monitor uneven ground, wet surfaces, moss, holes, broken paving and poor lighting. Maintain a clear reporting process for outdoor defects, hazards and incidents. | September 2026 |
| Car park | Staff, hirers, users, contractors, members of the public | Low | High | The car park surface is maintained to be as even as possible. Accessible parking is available next to the hall entrance, lighting is provided, and the entrance and exit are clearly marked. A signposted overflow car park is available for sports teams and when additional parking is required. | Assistant Clerk / Clerk | Medium | Use the hire agreement to advise hall users to consider whether car park marshals are needed for their event. | September 2027 |
| Fire in pavilion | All building users, staff, hirers, contractors | Low | High | The Fire Risk Assessment was prepared by APF Fire Protection & Safety Training in September 2024 and is reviewed annually by the Council. Norwell tests fire equipment annually to BS 5306, services the fire alarm every six months to BS 5839, and tests emergency lighting annually to BS 5266. The building is cleaned and maintained, weekly checks are recorded in the Fire Safety Log Book, and hirers receive the fire evacuation plan, emergency exit information and occupancy limits. | Clerk / Assistant Clerk / Nordwell / APF Fire Protection & Safety Training | Medium | Staff to renew Fire Warden/Marshal training by June 2027. | July 2027 |
| Electrical fault / unsafe appliances | Staff, hirers, contractors | Low | High | The fixed electrical installation was inspected in October 2023, with the next EICR due in 2028. PAT testing is carried out annually, with the next test due in May 2027. The Assistant Clerk completes monthly visual checks, and hirers are advised that any electrical equipment they bring onto site should be PAT tested. | Assistant Clerk / electrical contractor | Low/Medium | Remove faulty electrical items from use immediately and keep PAT records up to date. | May 2027 |
| Boiler failure or heating/hot water fault | All building users, staff, hirers, contractors | Medium | Medium | The boiler is maintained by a contractor and serviced annually. Maintenance records are kept, and a fault reporting procedure is in place. | Building contractor / Assistant Clerk | Low/Medium | Isolate or close affected areas if required. | ongoing |
| Air conditioning fault or poor ventilation | All building users, staff, hirers, contractors | Medium | Medium | Contractor maintenance is in place, including an annual service. Maintenance records are kept, and a fault reporting procedure is in place. | Building contractor / Assistant Clerk | Low | Record and review complaints about overheating, poor air quality or noise. | ongoing |
| Kitchen hazards including burns, slips, food hygiene and appliance misuse | All building users, staff, hirers, contractors | Medium | Medium | The pavilion includes a kitchen, with a fridge thermometer and first aid kit available. The kitchen is cleaned twice weekly by a contractor. Hirers must remove rubbish, use the commercial waste and recycling bins provided, and leave the area clean and suitable before and after use. Any issues should be reported to the Assistant Clerk. | Hirers / Assistant Clerk | Low/Medium | Provide kitchen user guidance to hirers. | December 2026 |
| Changing room and shower risks, including wet floors and hygiene issues | Sports participants, staff, contractors | Medium | Medium | A brush and dustpan are available to hirers. Showers and water points are subject to regular legionella testing, and the areas are cleaned routinely. A first aid kit is provided, the Assistant Clerk carries out weekly checks, and reported issues are acted on promptly. | Assistant Clerk / cleaning contractor | Low/Medium | Keep floors dry where practicable and provide warning signage where needed. | September 2027 – review after start of football season |
| Storage container hazards, including unstable items and unauthorised access | Staff, contractors, authorised users | Medium | Medium | Storage containers are kept on site, with access controlled. | Assistant Clerk / stores holder | Low/Medium | Maintain an inventory, store heavy items safely and prohibit hazardous materials. | December 2026 |
| Cleaning substances | All building users, staff, hirers, contractors | Low | Medium | Cleaning contractor Flawless is responsible for maintaining its own COSHH register and following appropriate safety procedures, including the use of PPE where required. Cleaning chemicals are stored securely in the locked cleaning cupboard and plant room, which are not accessible to hirers, users or members of the public. | Assistant Clerk / Flawless | Low/medium | Assistant Clerk to check that the COSHH register and RAMS documentation are up to date. | September 2026 |
| Bowling green facilities | Bowlers, contractors, public | Medium | Medium | The bowling green is maintained by a specialist contractor. The Bowls Club has sole use of the club room for equipment storage, as well as a wooden shed. Plastic chairs may be stored in the shipping container when not in use or at the end of the season. The gate is kept closed to limit access. A handrail has been installed on the steps from the building to support safe access by users. | Bowling green contractor / Assistant Clerk | Low/Medium | Keep mower and maintenance activity separate from user access, and display warning signage during maintenance. | November 2026 |
| MPSA used by sole private hirer | Hirer, staff, visitors | Low | Medium | The MPSA is locked and hired exclusively to one private hirer. | Clerk / hire manager | Low/Medium |  | ongoing |
| Adult gym equipment use | Users, children, staff, hirers | Medium | Medium | Signage provides guidance on age and use restrictions, and each piece of equipment has instructions available via QR code. The Assistant Clerk inspects the equipment weekly, and an annual inspection is carried out to BS EN 16630. Issues are reported to the Clerk. | Assistant Clerk / site inspector | Low/Medium | Withdraw faulty equipment from use wherever possible, using signage or access restrictions as needed. | ongoing |
| Children’s play area | Children, carers, staff, public | Medium | High | The enclosed play area opened in October 2024, with clear guidance and signage in place. The Assistant Clerk inspects the area weekly, and an annual inspection is carried out to BS EN 1176. Surfaces and equipment are maintained in safe condition, and issues are reported to the Clerk. See also Appendix 1. | Play area inspector / Assistant Clerk | Medium | Withdraw faulty equipment from use wherever possible, using signage or access restrictions as needed. | ongoing |
| Football goals and training equipment | Players, children, public, contractors | Medium | High | Three sets of goals are currently in use: permanent goals, lightweight public-use goals, and a movable set padlocked together for use by the three football teams. The pitch is marked to FA standards by Garden Guardian, which also carries out maintenance when required and during the out-of-season period. Corner flags are kept in the shipping container. Football team contracts require teams to complete their own risk assessment before each match and follow guidance issued by the Clerk. | Football team leads / Assistant Clerk | Medium | Secure goals when not in use, inspect fixings and nets, and prevent unauthorised use of team-only equipment. | Ongoing – review September 2026 following start of football season |
| Incident during hire | Hirers, teams, public, staff, contractors | Low | High | The padlock code for the field gate is provided to contractors and authorised playing field hirers, including football teams. Pavilion hirers have direct access from the car park through the available building entrances. Signage provides emergency contact details and what3words information. A defibrillator is located on the front wall of the Pavilion and is registered with The Circuit, so emergency services are aware of its location and access code. | Assistant Clerk / Clerk | Low/Medium | Ensure access-code arrangements do not allow unauthorised vehicles onto the field. | ongoing |
| Conflict between user groups or use outside booking arrangements | Hirers, teams, public, staff | Medium | Medium | Bookings clearly specify permitted areas, times and any sole-use arrangements. The booking diary is accessible to the Assistant Clerk and Clerk. The emergency contact number, 01603 339113, is displayed on the pavilion door and provided to hirers. | Assistant Clerk as bookings officer | Low/Medium | Ensure bookings clearly state permitted areas, times and any sole-use arrangements. Maintain the virtual line diversion to councillors, managed by the Chair. | ongoing |
| Manual handling during set-up, maintenance or storage | Staff, contractors, users | Medium | Medium | Some equipment, including tables for general use, is stored in containers and must be carried into the building. Access is limited to staff and hirers, with keys available by the rear fire door in the function room. | Assistant Clerk / contractors | Low | Provide safe lifting guidance for staff, contractors and authorised users. | September 2026 |
| Adverse weather conditions | Hirers, teams, public, staff, contractors | Medium | Medium | A Snow and Ice Policy is in place, subject to staff being able to attend the office. Hot weather conditions are managed as appropriate. Users and staff have access to clean drinking water, and air conditioning is available in the office and function room. Hirers and users are expected to carry out their own assessment and decide whether it is safe to continue with their planned activity. | Clerk / Assistant Clerk | Low/Medium |  | ongoing |
| Lone working by staff during checks or opening/closing | Staff | Medium | Medium | A Lone Working Policy is in place for staff undertaking checks, opening or closing the site. | Clerk / Assistant Clerk | Low/Medium |  | ongoing |
| Unauthorised use of Wifi facilities | All building users, staff, hirers, contractors | Medium | Medium | The Wi-Fi password is controlled by the Clerk and released only where there is a justified need. | Clerk | Medium | Review Wi-Fi access as part of the ongoing review of IT services, security and Council policy. | September 2026 |
| CCTV | All building users, staff, hirers, contractors | Medium | Medium | Access to the live feed and recordings is managed in accordance with the Council’s CCTV Policy. CCTV signage is displayed around the facilities, and details are included in the hirer’s agreement. | Clerk | Medium |  | ongoing |
| Contractor management | All users, staff, hirers, contractors | Medium | Medium | Contractors must provide up-to-date risk assessments, insurance, COSHH assessments and method statements (RAMS). | Assistant Clerk | Medium |  | ongoing |
| Legionella | All users, staff, hirers, contractors | Low | High | Regular water flushing and servicing are carried out by the cleaning contractor (Flawless since January 2025). Logs are kept. | Assistant Clerk | Medium | Clerk to complete the review of the Legionella Action Plan. | December 2026 |
| Condition of site | All users, staff, hirers, contractors | Low | High | The Assistant Clerk carries out weekly visual inspections and reports findings to the Clerk. Defects are monitored, and remedial work is arranged where required. The last tree safety survey was carried out in June 2025, with surveys recommended every three years. The boundary hedge was cut in spring 2026 to improve visibility. The next cut will be scheduled as required. | Assistant Clerk / Clerk | Medium | Clerk to set up accurate inspection and maintenance logs, to be maintained by the Assistant Clerk. | August 2026 |

Overall assessment

Stracey Sports Park is a multi-use site with a number of different user groups and therefore presents a moderate to high level of operational risk. The main risks arise from public access to a shared site, children’s play provision, sports pitch and goal use, building fire and electrical safety, control of hired and restricted-use areas, and ongoing inspection and maintenance responsibilities.

Required management actions

Keep this risk assessment under annual review and after any significant incident.

Actions already being taken

Maintain clear records of cleaning, PAT testing, fire equipment servicing, boiler and air conditioning servicing, weekly checks, contractor inspections and play equipment inspections.

Ensure hire agreements set out user responsibilities and permitted areas.

Ensure access codes are changed quarterly and after staff changes or security incidents.

Display emergency and safety information prominently in the pavilion.

Assessor’s conclusion

Subject to the control measures above being maintained, the residual risk at Stracey Sports Park is considered acceptable for normal community, sports and hire use.

Sign-off

| Prepared by | Aileen Beck | Signature | Aileen Beck |
| --- | --- | --- | --- |
| Role | Clerk | Date | 23.07.2026 |
| Reviewed by |  | Signature |  |
| Role |  | Date |  |

Review dates

| Review no. | Planned review date | Completed by | Comments |
| --- | --- | --- | --- |
| 1 | July 2027 |  |  |
| 2 | July 2028 |  |  |
| 3 | July 2029 |  |  |
| 4 | July 2030 |  |  |

Appendix 1: Play provision strategy for Jubilee and Stracey Sports Parks

Introduction

This strategy has been prepared to recognise formally the maintenance and inspection regime of Rackheath’s Community Council’s play facilities and the assets within these facilities. The policy will outline the legal responsibilities of the authority and how Rackheath Community Council will meet these responsibilities through a system of inspection, assessing risk and responses to faults and risks. Playgrounds by their very nature should provide a degree of risk and challenges to the users.  The policy will therefore summarise Rackheath Community Council’s objectives in providing challenging play whilst identifying an acceptable degree of risk.

Legal Requirements

There is no specific legislation on play safety. However, the key legislation is:

- The Health & Safety at Work Act 1974

- Management of Health and Safety at Work Act 1992

- Occupiers Liability Act 1957 and 1984

- Health and Safety at Work Regulations 1999

Rackheath Community Council and its Clerk have a duty to take actions to ensure the safety of people at work and members of the public who may be affected by the facilities provided by the Council. It is governed by the test of “reasonable practicability”. In other words, it is reasonable to correct major hazards; it is unreasonable to spend considerable resources on minor faults where risk is negligible and potential injury very minor.

Balancing Risks and Benefits

Rackheath Community Council will aim to offer play spaces which are stimulating and challenging environments enabling children to explore and develop their abilities. In providing these environments, the Council will manage the level of risk so that children are not exposed to unacceptable risks and hazards.

Playground Inspection Methodology

Rackheath Community Council is responsible for

- playground area located at Jubilee Park, Willoughby Way, Rackheath, NR13 6SL

- playground area and outdoor gym equipment located at Stracey Sports Park, Green Lane West, Rackheath, NR13 6LT

The responsibility for the operational regular inspection of the play areas will be undertaken by the Assistant Clerk and/or the Clerk who have been trained in playground inspection.  Other councillors may undertake inspections, but only if the appropriate training has been undertaken.

Inspection Frequency & Type

Weekly visual inspections of the play equipment are carried out by members of staff trained in playground inspections (appendix A) and annual inspections are carried out by external Inspectors. All inspections will be carried out by written report where the results of the inspections will be passed to the Clerk for filling/action.

Only staff who have received adequate training in playground inspections and relevant risk assessments are to be deployed to carry out inspections. Inspectors need to refresh their training every 3 years, or more frequently if there are changes in legislation, best practice or changes to equipment.

Inspection Type – Definitions Routine Visual Inspections – EN 1176- 7.6.2a

LOOK & SEE - It includes the identification of obvious hazards resulting from use, weather and vandalism, broken parts or bottles, litter, graffiti, equipment misuse. Obvious hazards as described above will be reported to the Clerk for action.

Operational Inspection – EN1176- 76.2b

POKE & PROD Operational Inspections provide a more detailed inspection to check the operation and stability of all equipment and surfaces especially for wear. It is recommended that inspections should be carried out every 2 weeks. All areas will receive a monthly operational inspection to:

- Check repairs carried out by others; rust and rot; bearings.

- Cleanliness

- Equipment Ground Clearance

- Exposed Foundations

- Sharp Edges

- Missing Parts

- Excessive Wear (of moving parts)

Annual Main Inspection – EN1176- 7.6.2c

These inspections will be carried out annually and carried out by an independent inspector.  Inspectors will be trained to RPII Operational inspector’s level enabling them to perform an operational inspection. The annual inspection will assess:

- The overall safety of equipment, foundations and surfaces

- The effects of weather, evidence of rotting or corrosion and any change in the level of safety as a result of repairs made or added or replacement components.

Accidents, Enquiries and Claims

Rackheath Community Council will record all accidents and enquires relating to the play / recreational and facilities within them. The details of the enquiry, complaint or accident will be recorded within the same system used for issuing and recording inspections.  Recording incidents in this manner will enable the Council to illustrate a clear chain of information from the inspection, the associated risk, details of works and repairs carried out and any information related to an accident or enquiry.

Summary of Risks:

Acceptable Risks, Actions & Time Frames

| Immediate | Action advised to be undertaken immediately and the operator or appropriate representative must be notified from the site by telephone. |
| --- | --- |
| High | May continue in use. Action required should be indicated in the inspection. Remedial action to be carried out within 3 months. Earlier intervention will be carried out if repairs are standard and there is no requirement to order specialised parts. |
| Moderate | May continue in use until budget is available to undertake the necessary action and/or repairs to form a planned maintenance schedule. |
| Low | May continue in use but should be monitored and may still require remedial action. |

Anti-Social Behaviour

Anti-social behaviour is the behaviour of any person or group that causes harassment, alarm or distress to others. In play areas this can include a range of problems such as dumped material, graffiti, litter and vandalism of play equipment or youth nuisance. All evidence of anti-social behaviour within play areas will be recorded on each inspection. Where there is evidence of criminal activity, such as vandalism, this should also be reported directly to the Police.

Record Keeping

- It is the responsibility of the Clerk to file all play equipment inspections and action accordingly.

- Records must be kept for 21 years.

- Any accidents or repair reports must be substantiated by photographs.